## Sheet1
City of Spokane RPWRF Lab
Annual Stormwater PCB Load Estimate using updated PCB data, and Cochran Basin Rainfall-Runoff Relationship
Assumptions:
Use same annual rainfall as Parsons - Spokane River PCB TMDL Stormwater Loading Analysis Final Technical Report (18 inches)
Q(cochran)= 11,481,742.5*P-356,857
Q(other basin)= Q(cochran)*I(other basin)/I(cochran)
Q= flow, gal/yr
I = impervious cover, acre
P = annual rainfall, in/yr: |  |  | 18
Stormwater PCB concentration (except Union and Washington) = Cochran Average, City of Spokane Sampling Results
Washington basin PCB Concentration = Washington Basin Average, City of Spokane Sampling Results
Union basin PCB Concentration = Union Basin Average, City of Spokane Sampling Results
CSO Flow: use Parsons low flow scenario (2005 actual CSO Flows)
CSO 6 Concentration = AVG of CSO 6 City of Spokane Sampling Results
CSO 34 Concentration = AVG of CSO 34 City of Spokane Sampling Results
All other CSO PCB Concentration = AVG of CSO 34 and CSO 6 City of Spokane Sampling Results
LOW CSO LOAD Scenario
| Parsons - 2007 Annual Runoff Volume (Mgal/yr) | Parsons - 2007 Annual PCB Conc (pg/L) | Parsons - 2007 Estimate of PCB Load (mg/day) | Drainage Area (acre) | Impervious Fraction | Impervious Cover (acre) | Flow (gal/yr) | Flow (Mgal/yr) | PCB Concentration (pg/L) | PCB Load Estimate (mg/day)
Stormwater
Cochran | 673.7 | 12900 | 90 | 5164 | 0.274 | 1414.936 | 206314499 | 206.3145 | 7268 | 15.5495
Union | 16.3 | 97000 | 16 | 109 | 0.323 | 35.207 | 5133599.3757 | 5.1336 | 34623 | 1.8431
Superior | 50.2 | 17800 | 9 | 294 | 0.376 | 110.544 | 16118630.0847 | 16.1186 | 7268 | 1.2148
Riverton | 25.1 | 22300 | 6 | 233 | 0.217 | 50.561 | 7372395.2065 | 7.3724 | 7268 | 0.55564
Washington | 87 | 4050 | 3.7 | 465 | 0.417 | 193.905 | 28273655.4364 | 28.2737 | 7887 | 2.3124
Hwy 291 | 189.6 | 978 | 2 | 1578 | 0.248 | 391.344 | 57062610.1086 | 57.0626 | 7268 | 4.3007
Mission St | 7.2 | 16500 | 1.2 | 55 | 0.277 | 15.235 | 2221444.2153 | 2.2214 | 7268 | 0.16743
Greene | 5.7 | 19500 | 1 | 34 | 0.365 | 12.41 | 1809525.6129 | 1.8095 | 7268 | 0.13638
Howard Bridge | 10.4 | 8740 | 0.9 | 57 | 0.407 | 23.199 | 3382690.1445 | 3.3827 | 7268 | 0.25495
Lincoln | 16.4 | 4360 | 0.7 | 69 | 0.544 | 37.536 | 5473195.2784 | 5.4732 | 7268 | 0.4125
IO5 upper | 75.1 | 22500 | 17 | 747 | 0.198 | 147.906 | 21566454.0934 | 21.5665 | 7268 | 1.6254
IO4 | 36.1 | 22500 | 8 | 174 | 0.468 | 81.432 | 11873754.207 | 11.8738 | 7268 | 0.8949
IO7 | 21.1 | 22500 | 5 | 181 | 0.239 | 43.259 | 6307676.7516 | 6.3077 | 7268 | 0.4754
IO3 | 3.1 | 22500 | 1 | 140 | 0.11429 | 16 | 2332990.3148 | 2.333 | 7268 | 0.17583
CSOs
CSO 34 | 15.3 | 177000 | 28 | [5 empty] | 13411 | 2.1278
CSO 26 | 17.7 | 3380 | 1 | [5 empty] | 12424 | 2.2804
CSO 24A | 5.2 | 1720 | 0.09 | [5 empty] | 12424 | 0.66994
CSO 07 | 0.4 | 2490 | 0.01 | [5 empty] | 12424 | 0.051534
CSO 33B | 6.7 | 22500 | 1.6 | [5 empty] | 12424 | 0.8632
CSO 06 | 5.5 | 22500 | 1.3 | [5 empty] | 11437 | 0.6523
CSO 12 | 3.4 | 22500 | 0.8 | [5 empty] | 12424 | 0.43804
CSO 23 | 1.8 | 22500 | 0.4 | [5 empty] | 12424 | 0.2319
CSO 41 | 0.5 | 22500 | 0.1 | [5 empty] | 12424 | 0.064418
CSO 16B | 0.4 | 22500 | 0.1 | [5 empty] | 12424 | 0.051534
CSO 25 | 0.4 | 22500 | 0.1 | [5 empty] | 12424 | 0.051534
CSO 33D | 0.3 | 22500 | 0.1 | [5 empty] | 12424 | 0.038651
CSO 14 | 0.2 | 22500 | 0 | [5 empty] | 12424 | 0.025767
CSO 10 | 0.2 | 22500 | 0 | [5 empty] | 12424 | 0.025767
CSO 15 | 0.2 | 22500 | 0 | [5 empty] | 12424 | 0.025767
CSO 42 | 0.1 | 22500 | 0 | [5 empty] | 12424 | 0.012884
CSO 40 | 0.1 | 22500 | 0 | [5 empty] | 12424 | 0.012884
CSO 39 | 0.1 | 22500 | 0 | [5 empty] | 12424 | 0.012884
CSO 33A | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 38 | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 24B | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 33C | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 20 | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 02 | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 19 | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 16A | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 03C | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO 18 | 0 | 22500 | 0 | [5 empty] | 12424 | 0
CSO34TOSVI | 0 | 22500 | 0 | [5 empty] | 12424 | 0
STORMWATER TOTAL |  |  | 161.5 | [6 empty] | 29.9191
CSO TOTAL |  |  | 33.6 | [6 empty] | 7.6372
CSO & STORMWATER TOTAL |  |  | 195.1 | [6 empty] | 37.5563
Note on F37: Donovan, Jeffrey: Table 14a of Spokane River PCB TMDL Stormwater Loading Analysis Report lists 0.000… This appears to be an error