## Slide 1: Technical Update
Task Force & Technical Track Work Group Meeting
Dave Dilks
June 15, 2016

## Slide 2: Items
Revisions to “Magnitude of Source Areas and Pathways” memorandum
Comments on “Inventory of Control Actions” memorandum
Comments on “Cost/Effectiveness of PCB Control Actions” memorandum
2016 Monthly Monitoring Update

## Slide 3: Magnitude of Sources and Pathways Last Month’s Comments
Report results as ranges instead of “best estimates”
Include “box and whiskers” plot for WWTP data

## Slide 4: Estimated Range of Mass of PCB in each Source Area Category

## Slide 5: Map of Delivery Pathways, Expressed as Ranges

## Slide 6: WWTP Table: Synoptic Surveys
 |  |  | PCB Concentration (pg/l) |  |  |  | PCB Loading Rate (mg/day) |  | 
 | No. of Samples | Sample Type | Minimum | Median | Maximum |  | Minimum | Median | Maximum
Industrial |  |  |  |  |  |  |  |  | 
Kaiser | 7 | Grab | 2226 | 3179 | 4625 |  | 69.4 | 98.4 | 156.1
Inland Empire Paper | 7 | Grab | 2629 | 2958 | 4449 |  | 70.7 | 78.6 | 114.4
Municipal |  |  |  |  |  |  |  |  | 
City of Spokane | 4 | Grab | 771 | 1066 | 23404 |  | 82.2 | 112.8 | 2619.0
Spokane County | 7 | Grab | 290 | 330 | 490 |  | 8.2 | 9.4 | 14.1
Coeur d'Alene | 3 | Grab | 531 | 534 | 1227 |  | 7.0 | 7.0 | 16.0
Post Falls | 3 | Grab | 200 | 219 | 221 |  | 1.9 | 2.0 | 2.1
Liberty lake | 3 | Grab | 193 | 200 | 260 |  | 0.5 | 0.5 | 0.7
HARSB | 0 | - | - | - | - |  | - | - | -
Total |  |  |  |  |  |  | 240.0 | 308.7 | 2922.5

## Slide 7: WWTP Graph: Synoptic Surveys

## Slide 8: WWTP Table: Routine Monitoring Effluent Concentration (pg/l)
 |  |  | 3x Blank Correction |  |  |  | 10x Blank Correction |  | 
 | No. of Samples | Sample Type | Minimum | Median | Maximum |  | Minimum | Median | Maximum
Industrial |  |  |  |  |  |  |  |  | 
Kaiser | 52 | Composite | 1205 | 1982 | 4405 |  | 973 | 1757 | 4291
Inland Empire Paper | 5 | Composite | 1212 | 2978 | 3159 |  | 610 | 2024 | 3065
Municipal |  |  |  |  |  |  |  |  | 
City of Spokane | 22 | Composite | 93.5 | 609 | 1680 |  | 40.7 | 469 | 1654
Spokane County | 13 | Composite | 4.31 | 109 | 792 |  | 4.31 | 31.2 | 226
Coeur d'Alene | 1 | Composite | 435 | 435 | 435 |  | 105 | 105 | 105
Post Falls | 4 | Composite | 101 | 111 | 315 |  | 26 | 39 | 65
Liberty lake | 17 | Composite | 66 | 220 | 1085 |  | 66 | 188 | 971
HARSB | 4 | Composite | 58.7 | 152 | 212 |  | 37 | 96.6 | 201

## Slide 9: WWTP Graph: Routine Monitoring Effluent Concentration: 3X Blank Correction

## Slide 10: WWTP Table: Routine Monitoring Effluent Load (mg/day)
 |  |  | 3x Blank Correction |  |  |  | 10x Blank Correction |  | 
 | No. of Samples | Sample Type | Minimum | Median | Maximum |  | Minimum | Median | Maximum
Industrial |  |  |  |  |  |  |  |  | 
Kaiser | 52 | Composite | 39 | 65 | 144 |  | 32 | 57 | 140
Inland Empire Paper | 5 | Composite | 32 | 72 | 82 |  | 16 | 52 | 70
Municipal |  |  |  |  |  |  |  |  | 
City of Spokane | 22 | Composite | 10.4 | 64.6 | 211.8 |  | 3.9 | 48.4 | 208.5
Spokane County | 13 | Composite | 0.12 | 2.85 | 20.1 |  | 0.12 | 0.8 | 6.1
Coeur d'Alene | 1 | Composite | 5.6 | 5.6 | 5.6 |  | 1.3 | 1.3 | 1.3
Post Falls | 4 | Composite | 0.98 | 1.04 | 2.97 |  | 0.25 | 0.37 | 0.61
Liberty lake | 17 | Composite | 0.20 | 0.61 | 2.76 |  | 0.20 | 0.52 | 2.47
HARSB | 4 | Composite | 0.24 | 0.63 | 0.9 |  | 0.15 | 0.4 | 0.86
Total |  |  | 88.5 | 212.3 | 470.1 |  | 54.0 | 160.8 | 429.9

## Slide 11: Task 2a: Inventory of Control Actions
New comments received this week
Recommend deferral of approval until comments are incorporated and distributed

## Slide 12: Task 2b: Cost/Effectiveness of Control Actions
Initial sets of comments received
  Doesn’t accomplish the goal of “assess the cost reduction efficiency of control actions”
    “Costs” table needs more detail to provide context
    More detail needed on relative magnitude of intermediate pathways, and the ability of a control action to affect delivery
    Confusing presentation
  Idealized case does not seem to add relevant information

## Slide 13: Task 2b: Cost/Effectiveness of Control Actions
Proposed revisions
  More detail on what reported costs represent
  Qualitative summary of expected effectiveness of each control action
    Effectiveness of action in controlling its targeted source area or pathway
    Expected reduction in load delivered to river, considering intermediate transport pathways
Revised draft to be prepared by June 22
  Summary presentation at Task Force meeting

## Slide 14: Potential Fact Sheet Format

## Slide 15: Potential Summary Format

## Slide 16: Task 2b: Cost/Effectiveness of Control Actions
Official Schedule
  Final draft due July 14
Proposed Interim Schedule
  Revised draft provided by June 22
  Official review draft by July 6

## Slide 17: Monthly Sampling Update
March through May sampling completed
Upriver Dam Spillway Rehabilitation
  Starting June 22, reservoir behind the dam will be lowered by two feet
    June sampling moved to this week
  Work scheduled to extend for six months
    Ramifications to fall monitoring will be considered
First round of PCB results received
  Data currently being blank-corrected